## IP Inventory
Plant Area | Network Type | LAN A IP Address | Device | Comment
Fume Control | iFIX Nodes & Ethernet Switches | 10.12.0.1 | PPPCFC1 | Primary SCADA
Fume Control | iFIX Nodes & Ethernet Switches | 10.12.0.2 | PPPCFC2 | Secondary SCADA
Fume Control | iFIX Nodes & Ethernet Switches | 10.12.0.3 | PPPCFC3 | Maintenance Workstation
Fume Control | iFIX Nodes & Ethernet Switches | 10.12.0.4 | PPPCFC4 | Operator Workstation SP
Fume Control | iFIX Nodes & Ethernet Switches | 10.12.0.5 | PPPCFC5 | Operator Workstation SP
Fume Control | iFIX Nodes & Ethernet Switches | 10.12.0.6 | PPPCFC6 | Operator Workstation FC
Fume Control | iFIX Nodes & Ethernet Switches | 10.12.0.7 | PPPCFC7 | Operator Workstation FC
Fume Control | iFIX Nodes & Ethernet Switches | 10.12.0.8 | PPPCFC8 | Operator Workstation SP
Fume Control | iFIX Nodes & Ethernet Switches | 10.12.0.9 | PPPCFC9 | Spare iFIX
Fume Control | iFIX Nodes & Ethernet Switches | 10.12.0.10
Fume Control | iFIX Nodes & Ethernet Switches | 10.12.0.11
Fume Control | iFIX Nodes & Ethernet Switches | 10.12.0.12
Fume Control | iFIX Nodes & Ethernet Switches | 10.12.0.13
Fume Control | iFIX Nodes & Ethernet Switches | 10.12.0.14
Fume Control | iFIX Nodes & Ethernet Switches | 10.12.0.15
Fume Control | iFIX Nodes & Ethernet Switches | 10.12.0.16 |  | F3 Fans Spare Switch (in E&I office)
Fume Control | iFIX Nodes & Ethernet Switches | 10.12.0.17 | FCSW4 | F3 Fans Ethernet Switch
Fume Control | iFIX Nodes & Ethernet Switches | 10.12.0.18 | FCSW3 | Ethernet Switch
Fume Control | iFIX Nodes & Ethernet Switches | 10.12.0.19 | FCSW2 | Ethernet Swtich
Fume Control | iFIX Nodes & Ethernet Switches | 10.12.0.20 | FCSW1 | Ethernet Switch
Blast Furnace | iFIX Nodes & Ethernet Switches | 10.12.0.21 | PPPCBF1 | Primary SCADA
Blast Furnace | iFIX Nodes & Ethernet Switches | 10.12.0.22 | PPPCBF2 | Secondary SCADA
Blast Furnace | iFIX Nodes & Ethernet Switches | 10.12.0.23 | PPPCBF3 | Maintenance Workstation
Blast Furnace | iFIX Nodes & Ethernet Switches | 10.12.0.24 | PPPCBF4 | Operator Workstation #1
Blast Furnace | iFIX Nodes & Ethernet Switches | 10.12.0.25 | PPPCBF5 | Operator Workstation #2
Blast Furnace | iFIX Nodes & Ethernet Switches | 10.12.0.26 | PPPCBF6
Blast Furnace | iFIX Nodes & Ethernet Switches | 10.12.0.27 | PPPCSRF1 | Operator Workstation
Blast Furnace | iFIX Nodes & Ethernet Switches | 10.12.0.28
Blast Furnace | iFIX Nodes & Ethernet Switches | 10.12.0.29 | PPPCBF9 | CDF Operator Workstation
Blast Furnace | iFIX Nodes & Ethernet Switches | 10.12.0.30
Blast Furnace | iFIX Nodes & Ethernet Switches | 10.12.0.31 |  | BF Mtce laptop
Blast Furnace | iFIX Nodes & Ethernet Switches | 10.12.0.32 | PPPCCOKE | BF Coke PC
Blast Furnace | iFIX Nodes & Ethernet Switches | 10.12.0.33 | PPPCBF8 | Top Floor Operator Workstation
Blast Furnace | iFIX Nodes & Ethernet Switches | 10.12.0.34 | BFTS1 | RS232 Terminal Server (Coke Scales)
Blast Furnace | iFIX Nodes & Ethernet Switches | 10.12.0.35 | PPPCBF15
Blast Furnace | iFIX Nodes & Ethernet Switches | 10.12.0.36 | BFSW3 | Blast Furnace Top Floor Switch
Blast Furnace | iFIX Nodes & Ethernet Switches | 10.12.0.37 | BFSW2 | Coke Scales / Meccano Set Switch
Blast Furnace | iFIX Nodes & Ethernet Switches | 10.12.0.38 | DFSW1 | Dross Floor Ethernet Switch
Blast Furnace | iFIX Nodes & Ethernet Switches | 10.12.0.39 | SRFSW1 | SRF Ethernet Switch
Blast Furnace | iFIX Nodes & Ethernet Switches | 10.12.0.40 | BFSW1A/B | Blast Furnace Ethernet Switch
Acid Plant | iFIX Nodes & Ethernet Switches | 10.12.0.41 | PPPCAP1 | Primary SCADA
Acid Plant | iFIX Nodes & Ethernet Switches | 10.12.0.42 | PPPCAP2 | Secondary SCADA
Acid Plant | iFIX Nodes & Ethernet Switches | 10.12.0.43 | PPPCAP3 | Maintenance Workstation
Acid Plant | iFIX Nodes & Ethernet Switches | 10.12.0.44 | PPPCAP4 | ProWORX Maintenance Workstation
Acid Plant | iFIX Nodes & Ethernet Switches | 10.12.0.45
Acid Plant | iFIX Nodes & Ethernet Switches | 10.12.0.46
Acid Plant | iFIX Nodes & Ethernet Switches | 10.12.0.47
Acid Plant | iFIX Nodes & Ethernet Switches | 10.12.0.48
Acid Plant | iFIX Nodes & Ethernet Switches | 10.12.0.49
Acid Plant | iFIX Nodes & Ethernet Switches | 10.12.0.50
Acid Plant | iFIX Nodes & Ethernet Switches | 10.12.0.51
Acid Plant | iFIX Nodes & Ethernet Switches | 10.12.0.52
Acid Plant | iFIX Nodes & Ethernet Switches | 10.12.0.53
Acid Plant | iFIX Nodes & Ethernet Switches | 10.12.0.54
Acid Plant | iFIX Nodes & Ethernet Switches | 10.12.0.55
Acid Plant | iFIX Nodes & Ethernet Switches | 10.12.0.56
Acid Plant | iFIX Nodes & Ethernet Switches | 10.12.0.57
Acid Plant | iFIX Nodes & Ethernet Switches | 10.12.0.58
Acid Plant | iFIX Nodes & Ethernet Switches | 10.12.0.59 | APSW2 | Primary Acid Ethernet Switch
Acid Plant | iFIX Nodes & Ethernet Switches | 10.12.0.60 | APSW1 | Acid Plant Ethernet Switch
PETs Plant | iFIX Nodes & Ethernet Switches | 10.12.0.61 | PPPCPET1 | Primary SCADA
PETs Plant | iFIX Nodes & Ethernet Switches | 10.12.0.62 | PPPCPET2 | Secondary SCADA
PETs Plant | iFIX Nodes & Ethernet Switches | 10.12.0.63 | PPPCPET3 | Maintenance Workstation
PETs Plant | iFIX Nodes & Ethernet Switches | 10.12.0.64 | PPPCPET4 | Operator Workstation #1
PETs Plant | iFIX Nodes & Ethernet Switches | 10.12.0.65 | PPPCPET5 | Operator Workstation #2
PETs Plant | iFIX Nodes & Ethernet Switches | 10.12.0.66 | PPPCPET6 | Operator Workstation #3
PETs Plant | iFIX Nodes & Ethernet Switches | 10.12.0.67 | PPPCPET7 | Operator Workstation #1(New)
PETs Plant | iFIX Nodes & Ethernet Switches | 10.12.0.68
PETs Plant | iFIX Nodes & Ethernet Switches | 10.12.0.69
PETs Plant | iFIX Nodes & Ethernet Switches | 10.12.0.70
PETs Plant | iFIX Nodes & Ethernet Switches | 10.12.0.71 | PPPCSTP1 | STP SCADA
PETs Plant | iFIX Nodes & Ethernet Switches | 10.12.0.72 |  | PETS Water Analyser
PETs Plant | iFIX Nodes & Ethernet Switches | 10.12.0.73 |  | Sedimentation Basin Mouth Water Analyser
PETs Plant | iFIX Nodes & Ethernet Switches | 10.12.0.74 |  | Wooden Culvert South Water Analyser
PETs Plant | iFIX Nodes & Ethernet Switches | 10.12.0.75 | PPPCPET15
PETs Plant | iFIX Nodes & Ethernet Switches | 10.12.0.76
PETs Plant | iFIX Nodes & Ethernet Switches | 10.12.0.77
PETs Plant | iFIX Nodes & Ethernet Switches | 10.12.0.78
PETs Plant | iFIX Nodes & Ethernet Switches | 10.12.0.79 | STPSW1 | STP Switch
PETs Plant | iFIX Nodes & Ethernet Switches | 10.12.0.80 | PETSW1 | Ethernet Switch
Zinc Plant | iFIX Nodes & Ethernet Switches | 10.11.9.53 | PPPCZP1 | Primary SCADA / Operator Workstation (Purification Humpy)
Zinc Plant | iFIX Nodes & Ethernet Switches | 10.11.9.54 | PPPCZP2 | Secondary SCADA / Operator Workstation (Cell Floor Humpy)
Zinc Plant | iFIX Nodes & Ethernet Switches | 10.11.9.205 | PPPCZP3
Zinc Plant | iFIX Nodes & Ethernet Switches | 10.11.9.84 | PPPCZP4
Zinc Plant | iFIX Nodes & Ethernet Switches | 10.11.9.85 | PPPCZP5
Zinc Plant | iFIX Nodes & Ethernet Switches | 10.11.9.2 | PPPCZP6 | Zinc Market Scales SCADA/View Node
Zinc Plant | iFIX Nodes & Ethernet Switches | 10.12.0.87
Zinc Plant | iFIX Nodes & Ethernet Switches | 10.12.0.88
Zinc Plant | iFIX Nodes & Ethernet Switches | 10.12.0.89
Zinc Plant | iFIX Nodes & Ethernet Switches | 10.12.0.90
Zinc Plant | iFIX Nodes & Ethernet Switches | 10.11.9.206 | S1ENG | Mtce PC for #1 Rectifier (ABB)
Zinc Plant | iFIX Nodes & Ethernet Switches | 10.12.0.92 |  | Zinc WTP AAC PLC
Zinc Plant | iFIX Nodes & Ethernet Switches | 10.12.0.93 |  | Zinc WTP bAC PLC
Zinc Plant | iFIX Nodes & Ethernet Switches | 10.12.0.94 |  | Zinc WTP HMI Magellis Touch
Zinc Plant | iFIX Nodes & Ethernet Switches | 10.12.0.95
Zinc Plant | iFIX Nodes & Ethernet Switches | 10.12.0.96
Zinc Plant | iFIX Nodes & Ethernet Switches | 10.12.0.97
Zinc Plant | iFIX Nodes & Ethernet Switches | 10.12.0.98
Zinc Plant | iFIX Nodes & Ethernet Switches | 10.12.0.99
Zinc Plant | iFIX Nodes & Ethernet Switches | 10.11.9.57 | ZPSW1 | ZP Auto Batch Hirschmann Ethernet Switch (pw windmill)
Power Plant | iFIX Nodes & Ethernet Switches | 10.11.9.178 | PPPCPP1 | Primary SCADA / Operator Workstation
Power Plant | iFIX Nodes & Ethernet Switches | 10.12.0.102
Power Plant | iFIX Nodes & Ethernet Switches | 10.12.0.103
Power Plant | iFIX Nodes & Ethernet Switches | 10.12.0.104
Power Plant | iFIX Nodes & Ethernet Switches | 10.12.0.105
Power Plant | iFIX Nodes & Ethernet Switches | 10.12.0.106
Power Plant | iFIX Nodes & Ethernet Switches | 10.12.0.107
Power Plant | iFIX Nodes & Ethernet Switches | 10.12.0.108
Power Plant | iFIX Nodes & Ethernet Switches | 10.12.0.109
Power Plant | iFIX Nodes & Ethernet Switches | 10.12.0.110
Power Plant | iFIX Nodes & Ethernet Switches | 10.12.0.111
Power Plant | iFIX Nodes & Ethernet Switches | 10.12.0.112
Power Plant | iFIX Nodes & Ethernet Switches | 10.12.0.113
Power Plant | iFIX Nodes & Ethernet Switches | 10.12.0.114
Power Plant | iFIX Nodes & Ethernet Switches | 10.12.0.115
Power Plant | iFIX Nodes & Ethernet Switches | 10.12.0.116
Power Plant | iFIX Nodes & Ethernet Switches | 10.12.0.117
Power Plant | iFIX Nodes & Ethernet Switches | 10.12.0.118
Power Plant | iFIX Nodes & Ethernet Switches | 10.12.0.119
Power Plant | iFIX Nodes & Ethernet Switches | 10.12.0.120 | PPSW1 | Ethernet Switch
Slag Fumer | iFIX Nodes & Ethernet Switches | 10.12.0.121 | PPPCSF1 | Primary SCADA/View - Top Control Room
Slag Fumer | iFIX Nodes & Ethernet Switches | 10.12.0.122 | PPPCSF2 | Secondary SCADA/View - Tapping Floor Humpy
Slag Fumer | iFIX Nodes & Ethernet Switches | 10.12.0.123 | PPPCSF3 | Maintenance Workstation - FWG Switchroom
Slag Fumer | iFIX Nodes & Ethernet Switches | 10.11.9.35 | PPPCSF4 | Operator Workstation - Top Control Room
Slag Fumer | iFIX Nodes & Ethernet Switches | 10.12.0.125 | PPPCSF5 | Operator Workstation - Top Control Room
Slag Fumer | iFIX Nodes & Ethernet Switches | 10.12.0.126 | PPPCSF6
Slag Fumer | iFIX Nodes & Ethernet Switches | 10.12.0.127 | POPPCSF7 | Operator Workstation - Top Control Room
Slag Fumer | iFIX Nodes & Ethernet Switches | 10.12.0.128 | Spare
Slag Fumer | iFIX Nodes & Ethernet Switches | 10.12.0.129 | PPPCSF9 | Operator Workstation - Tapping Floor Humpy
Slag Fumer | iFIX Nodes & Ethernet Switches | 10.12.0.130 | PPPCSF10 | Operator Workstation - Tapping Floor Humpy
Slag Fumer | iFIX Nodes & Ethernet Switches | 10.12.0.131 | PPPCSF11 | Control Room Alarms PC
Slag Fumer | iFIX Nodes & Ethernet Switches | 10.11.9.36 | PPPCSF12 | Operator Workstation - Shift Team Leader
Slag Fumer | iFIX Nodes & Ethernet Switches | 10.11.9.37 | PPPCSF13 | Operator Workstation - Day Team Leader
Slag Fumer | iFIX Nodes & Ethernet Switches | 10.12.0.134 | SFSW5 | FWG SCADA Rack Ethernet Switch
Slag Fumer | iFIX Nodes & Ethernet Switches | 10.12.0.135 | SFSW4 | Stack Fan EER Ethernet Swtich
Slag Fumer | iFIX Nodes & Ethernet Switches | 10.11.9.109 |  | Process PLC Room Hirschmann Ethernet Switch (ex PETS) (pw windmill)
Slag Fumer | iFIX Nodes & Ethernet Switches | 10.11.9.101 |  | Slag Fumer FWG Hirschmann Ethernet Switch (pw windmill)
Slag Fumer | iFIX Nodes & Ethernet Switches | 10.12.0.137 | SFSW4 | Ethernet Switch (Process PLC switchroom) - Link to Power Plant
Slag Fumer | iFIX Nodes & Ethernet Switches | 10.12.0.138 | SFSW3 | Ethernet Switch (Demag Blower RIO room)
Slag Fumer | iFIX Nodes & Ethernet Switches | 10.12.0.139 | SFSW2 | Ethernet Switch (Common PLC switchroom)
Slag Fumer | iFIX Nodes & Ethernet Switches | 10.12.0.140 | SFSW1 | Ethernet Switch
Copper Plant | iFIX Nodes & Ethernet Switches | 10.12.0.141 | PPPCCP1 | Primary SCADA
Copper Plant | iFIX Nodes & Ethernet Switches | 10.12.0.142 | PPPCCP2 | Secondary SCADA
Copper Plant | iFIX Nodes & Ethernet Switches | 10.12.0.143 | PPPCCP3 | Maintenance Workstation
Copper Plant | iFIX Nodes & Ethernet Switches | 10.12.0.144 | PPPCCP4 | Operator Workstation
Copper Plant | iFIX Nodes & Ethernet Switches | 10.12.0.145 | PPPCCP5 | Operator Workstation
Copper Plant | iFIX Nodes & Ethernet Switches | 10.12.0.146 | PPPCCP6 | Operator Workstation Lab
Copper Plant | iFIX Nodes & Ethernet Switches | 10.12.0.147
Copper Plant | iFIX Nodes & Ethernet Switches | 10.12.0.148
Copper Plant | iFIX Nodes & Ethernet Switches | 10.12.0.149
Copper Plant | iFIX Nodes & Ethernet Switches | 10.12.0.150
Copper Plant | iFIX Nodes & Ethernet Switches | 10.12.0.151
Copper Plant | iFIX Nodes & Ethernet Switches | 10.12.0.152
Copper Plant | iFIX Nodes & Ethernet Switches | 10.12.0.153
Copper Plant | iFIX Nodes & Ethernet Switches | 10.12.0.154
Copper Plant | iFIX Nodes & Ethernet Switches | 10.12.0.155
Copper Plant | iFIX Nodes & Ethernet Switches | 10.12.0.156
Copper Plant | iFIX Nodes & Ethernet Switches | 10.12.0.157 |  | Engineering cisco Ethernet Process Switch
Copper Plant | iFIX Nodes & Ethernet Switches | 10.12.0.158
Copper Plant | iFIX Nodes & Ethernet Switches | 10.12.0.159 | CPSW1 | Copper Plant Cisco Ethernet Process Switch
Copper Plant | iFIX Nodes & Ethernet Switches | 10.11.9.81 |  | Copper Plant Hirschmann Ethernet Switch (pw windmill)
Sinter Plant | iFIX Nodes & Ethernet Switches | 10.12.0.161 | PPPCSP1 | Primary SCADA (Process Control LAN)
Sinter Plant | iFIX Nodes & Ethernet Switches | 10.12.0.162 | PPPCSP2 | Secondary SCADA (Process Control LAN)
Sinter Plant | iFIX Nodes & Ethernet Switches | 10.12.0.163 | PPPCSP3 | Maintenance Workstation
Sinter Plant | iFIX Nodes & Ethernet Switches | 10.12.0.164 | PPPCSP4 | Operator Station - Proportioning Plant
Sinter Plant | iFIX Nodes & Ethernet Switches | 10.12.0.165 | SPFPHMI | Filter Press Touch Screen HMI
Sinter Plant | iFIX Nodes & Ethernet Switches | 10.12.0.166 | PPPCCD1 | Operator Station - Cadmium Plant
Sinter Plant | iFIX Nodes & Ethernet Switches | 10.12.0.167
Sinter Plant | iFIX Nodes & Ethernet Switches | 10.12.0.168
Sinter Plant | iFIX Nodes & Ethernet Switches | 10.12.0.169
Sinter Plant | iFIX Nodes & Ethernet Switches | 10.12.0.170 |  | S1 Laptop (Toshiba)
Sinter Plant | iFIX Nodes & Ethernet Switches | 10.12.0.171
Sinter Plant | iFIX Nodes & Ethernet Switches | 10.12.0.172
Sinter Plant | iFIX Nodes & Ethernet Switches | 10.12.0.173
Sinter Plant | iFIX Nodes & Ethernet Switches | 10.12.0.174
Sinter Plant | iFIX Nodes & Ethernet Switches | 10.12.0.175
Sinter Plant | iFIX Nodes & Ethernet Switches | 10.12.0.176
Sinter Plant | iFIX Nodes & Ethernet Switches | 10.12.0.177 | SPFPSW | Diemme Filter Ethernet Switch
Sinter Plant | iFIX Nodes & Ethernet Switches | 10.12.0.178 | CSBSW1A/B | CSB Ethernet Switch
Sinter Plant | iFIX Nodes & Ethernet Switches | 10.12.0.179 | PRPSW | Proportioning Plant Ethernet Switch
Sinter Plant | iFIX Nodes & Ethernet Switches | 10.12.0.180 | SPSW1A/B | Sinter South Ethernet Switch
Refinery | iFIX Nodes & Ethernet Switches | 10.12.0.181 | PPPCRF1 | Primary SCADA (PMR Switchroom)
Refinery | iFIX Nodes & Ethernet Switches | 10.12.0.182 | PPPCRF2 | Secondary SCADA (KBA Switchroom)
Refinery | iFIX Nodes & Ethernet Switches | 10.12.0.183 | PPPCRF3 | PMR Maintenance PC
Refinery | iFIX Nodes & Ethernet Switches | 10.12.0.184 | PPPCRF4 | Softener Retreat View Node
Refinery | iFIX Nodes & Ethernet Switches | 10.11.9.132 | PP_KBA5 | SLMM1 Switch Room Mtce PC
Refinery | iFIX Nodes & Ethernet Switches | 10.12.0.186 | PPPCRF6 | KBA Retreat View Node
Refinery | iFIX Nodes & Ethernet Switches | 10.11.9.8 | PPPCRF8 | Batch Ctrl room iFix
Refinery | iFIX Nodes & Ethernet Switches | 10.12.0.189
Refinery | iFIX Nodes & Ethernet Switches | 10.12.0.190 | PPPCRF10 | Alloys Mtce PC
Refinery | iFIX Nodes & Ethernet Switches | 10.11.9.41 | PP_KBA3 | KBA Retreat View Node
Refinery | iFIX Nodes & Ethernet Switches | 10.12.0.192 | PPSPCSLM3 | SLMM3 SCADA/View Node user :administrator pass :deskpro
Refinery | iFIX Nodes & Ethernet Switches | 10.11.9.113 | PP_SLMM3B | SLMM3 SCADA/View Node Spare (not on network)
Refinery | iFIX Nodes & Ethernet Switches | 10.12.0.194 | B_MOULD | Butt Wheel SCADA/View Node user:BUTT WHEEL pass:deskpro
Refinery | iFIX Nodes & Ethernet Switches | 10.12.0.195
Refinery | iFIX Nodes & Ethernet Switches | 10.12.0.196
Refinery | iFIX Nodes & Ethernet Switches | 10.12.0.197
Refinery | iFIX Nodes & Ethernet Switches | 10.12.0.198
Refinery | iFIX Nodes & Ethernet Switches | 10.12.0.199 | PMRSW1 | PMR EER Ethernet Switch
Refinery | iFIX Nodes & Ethernet Switches | 10.12.0.200 | RFSW1 | KBA Ethernet Switch - future
Kilns/KDR | iFIX Nodes & Ethernet Switches | 10.12.0.201 | PPPCKDR1 | Primary SCADA/Operator Workstation (Kilns)
Kilns/KDR | iFIX Nodes & Ethernet Switches | 10.12.0.202 | PPPCKDR2 | WWT Operator Workstation
Kilns/KDR | iFIX Nodes & Ethernet Switches | 10.12.0.203
Kilns/KDR | iFIX Nodes & Ethernet Switches | 10.12.0.204
Kilns/KDR | iFIX Nodes & Ethernet Switches | 10.12.0.205
Kilns/KDR | iFIX Nodes & Ethernet Switches | 10.12.0.206
Kilns/KDR | iFIX Nodes & Ethernet Switches | 10.12.0.207
Kilns/KDR | iFIX Nodes & Ethernet Switches | 10.12.0.208
Kilns/KDR | iFIX Nodes & Ethernet Switches | 10.12.0.209
Kilns/KDR | iFIX Nodes & Ethernet Switches | 10.12.0.210
Kilns/KDR | iFIX Nodes & Ethernet Switches | 10.12.0.211
Kilns/KDR | iFIX Nodes & Ethernet Switches | 10.12.0.212
Kilns/KDR | iFIX Nodes & Ethernet Switches | 10.12.0.213
Kilns/KDR | iFIX Nodes & Ethernet Switches | 10.12.0.214
Kilns/KDR | iFIX Nodes & Ethernet Switches | 10.12.0.215
Kilns/KDR | iFIX Nodes & Ethernet Switches | 10.12.0.216
Kilns/KDR | iFIX Nodes & Ethernet Switches | 10.12.0.217
Kilns/KDR | iFIX Nodes & Ethernet Switches | 10.12.0.218
Kilns/KDR | iFIX Nodes & Ethernet Switches | 10.11.9.61 |  | Slag Fumer Process PLC Room Hirschmann Ethernet Switch (pw windmill)
Kilns/KDR | iFIX Nodes & Ethernet Switches | 10.11.9.59 | KDRSW1 | Kilns Hirschmann Ethernet Switch (pw windmill)
EAF Dust Washing | iFIX Nodes & Ethernet Switches | 10.12.0.221
EAF Dust Washing | iFIX Nodes & Ethernet Switches | 10.12.0.222
EAF Dust Washing | iFIX Nodes & Ethernet Switches | 10.12.0.223 | PPPCEAF3 | EAF iFix Maintenance Node
EAF Dust Washing | iFIX Nodes & Ethernet Switches | 10.12.0.224 | PPPCEAF4 | EAF Operator Stations (Ex ZP4 machine)
EAF Dust Washing | iFIX Nodes & Ethernet Switches | 10.12.0.225
EAF Dust Washing | iFIX Nodes & Ethernet Switches | 10.12.0.226 | EAFHMI | Magellis Touch Screen
EAF Dust Washing | iFIX Nodes & Ethernet Switches | 10.12.0.227
EAF Dust Washing | iFIX Nodes & Ethernet Switches | 10.12.0.228
EAF Dust Washing | iFIX Nodes & Ethernet Switches | 10.12.0.229
EAF Dust Washing | iFIX Nodes & Ethernet Switches | 10.12.0.230
EAF Dust Washing | iFIX Nodes & Ethernet Switches | 10.12.0.231
EAF Dust Washing | iFIX Nodes & Ethernet Switches | 10.12.0.232
EAF Dust Washing | iFIX Nodes & Ethernet Switches | 10.12.0.233
EAF Dust Washing | iFIX Nodes & Ethernet Switches | 10.12.0.234
EAF Dust Washing | iFIX Nodes & Ethernet Switches | 10.12.0.235
EAF Dust Washing | iFIX Nodes & Ethernet Switches | 10.12.0.236
EAF Dust Washing | iFIX Nodes & Ethernet Switches | 10.12.0.237
EAF Dust Washing | iFIX Nodes & Ethernet Switches | 10.12.0.238
EAF Dust Washing | iFIX Nodes & Ethernet Switches | 10.12.0.239
EAF Dust Washing | iFIX Nodes & Ethernet Switches | 10.12.0.240 | EAFSW1
Miscellaneous | iFIX Nodes & Ethernet Switches | 10.11.9.47 | PP_SMS | SMS (Site Metering System) SCADA Node
Miscellaneous | iFIX Nodes & Ethernet Switches | 10.11.9.45 |  | SMS Ethernet/Modbus Bridge
Miscellaneous | iFIX Nodes & Ethernet Switches | 10.11.9.93 | PP_FIX1 | 1st Spare Fix Machine
Miscellaneous | iFIX Nodes & Ethernet Switches | 10.11.9.95 | PP_FIX2 | 2nd Spare Fix Machine
Miscellaneous | iFIX Nodes & Ethernet Switches | 10.11.9.101 |  | Engineering Testing - Hirschmann Ethernet Switch
Miscellaneous | iFIX Nodes & Ethernet Switches | 10.11.9.103 |  | Engineering Testing - Ethernet/MB+ Bridge
Miscellaneous | iFIX Nodes & Ethernet Switches | 10.11.9.109 |  | Engineering Testing - Hirschmann Ethernet Switch
Miscellaneous | iFIX Nodes & Ethernet Switches | 10.11.9.107 |  | Engineering Testing Ethernet/Modbus Bridge
Miscellaneous | iFIX Nodes & Ethernet Switches | 10.11.9.69 |  | Engineering Test PLC
Miscellaneous | iFIX Nodes & Ethernet Switches | 10.11.9.28 | EGX100 | MB+/Ethernet Bridge Sepams(Workshop sub)
Miscellaneous | iFIX Nodes & Ethernet Switches | 10.11.9.209 | EGX100 | MB+/Ethernet Bridge Sepams(Refinery sub)
Miscellaneous | iFIX Nodes & Ethernet Switches | 10.11.9.210 | EGX100 | MB+/Ethernet Bridge Sepams(Spare )
Miscellaneous | iFIX Nodes & Ethernet Switches | 10.11.9.211 |  | MB+/Ethernet Bridge Sepams(Spare )
Miscellaneous | iFIX Nodes & Ethernet Switches | 10.11.9.212 |  | MB+/Ethernet Bridge Sepams(Spare )
Miscellaneous | iFIX Nodes & Ethernet Switches | 10.11.9.213 |  | MB+/Ethernet Bridge Sepams(Spare )
Other ProcN Devices | iFIX Nodes & Ethernet Switches | 10.12.0.241 | PPPCHIST | Process Control Historian
Other ProcN Devices | iFIX Nodes & Ethernet Switches | 10.11.9.194 | PPPCHIST | Process Control Historian
Other ProcN Devices | iFIX Nodes & Ethernet Switches | 10.12.0.242 | PPPCLTSH | Shift electrician laptop
Other ProcN Devices | iFIX Nodes & Ethernet Switches | 10.12.0.243 | PPPCLTRF | Refinery laptop
Other ProcN Devices | iFIX Nodes & Ethernet Switches | 10.12.0.244 | PPPCLTBF | Blast Furnace laptop
Other ProcN Devices | iFIX Nodes & Ethernet Switches | 10.12.0.245 | PPPCLTZP | Zinc Plant laptop
Other ProcN Devices | iFIX Nodes & Ethernet Switches | 10.12.0.246 | PPPCLTSP | Sinter Plant laptop
Other ProcN Devices | iFIX Nodes & Ethernet Switches | 10.12.0.247 | PPPCLTAP | Acid Plant laptop
Other ProcN Devices | iFIX Nodes & Ethernet Switches | 10.12.0.248 | PPPCLTSF | Slag Fuming laptop
Other ProcN Devices | iFIX Nodes & Ethernet Switches | 10.12.0.249 | PPPCLTEN1 | Engineering laptop 1
Other ProcN Devices | iFIX Nodes & Ethernet Switches | 10.12.0.250 | PPPCLTEN2 | Engineering laptop 2
Other ProcN Devices | iFIX Nodes & Ethernet Switches | 10.12.0.251 | PP_FIX2 | Klemmy's Fix32 machine
Other ProcN Devices | iFIX Nodes & Ethernet Switches | 10.11.9.127 | PPPCEM | Energy Management Server
Other ProcN Devices | iFIX Nodes & Ethernet Switches | 10.11.9.128 | PPPCEM1 | New Energy Management Server
Other ProcN Devices | iFIX Nodes & Ethernet Switches | 10.12.0.252 | PP_FIX3 | Adrian's Fix 32 machine
Other ProcN Devices | iFIX Nodes & Ethernet Switches | 10.12.0.253 | ENG | Engineering iIFix version 5.5
Other ProcN Devices | iFIX Nodes & Ethernet Switches | 10.12.0.254 | PPPCRT1 | Process Control To Business Network Router
Other ProcN Devices | iFIX Nodes & Ethernet Switches | 10.11.9.195 | PPPCRT1 | Process Control To Business Network Router
Other ProcN Devices | iFIX Nodes & Ethernet Switches | 10.12.0.255
Spare Plant Area | iFIX Nodes & Ethernet Switches | 10.12.2.1 | PPPCIFIX1 | New windows7 Spare PC
Spare Plant Area | iFIX Nodes & Ethernet Switches | 10.12.2.2 | PPPCIFIX2 | New windows7 Spare PC
Spare Plant Area | iFIX Nodes & Ethernet Switches | 10.12.2.3 | PPPCIFIX3 | New windows7 Spare PC
Spare Plant Area | iFIX Nodes & Ethernet Switches | 10.12.2.4 | WAN Testing | Given to Jhonny Guzman for WAN testing
Spare Plant Area | iFIX Nodes & Ethernet Switches | 10.12.2.5 | WAN Testing | Given to Jhonny Guzman for WAN testing
Spare Plant Area | iFIX Nodes & Ethernet Switches | 10.12.2.6
Spare Plant Area | iFIX Nodes & Ethernet Switches | 10.12.2.7
Spare Plant Area | iFIX Nodes & Ethernet Switches | 10.12.2.8
Spare Plant Area | iFIX Nodes & Ethernet Switches | 10.12.2.9
Spare Plant Area | iFIX Nodes & Ethernet Switches | 10.12.2.10
Spare Plant Area | iFIX Nodes & Ethernet Switches | 10.12.2.11
Spare Plant Area | iFIX Nodes & Ethernet Switches | 10.12.2.12
Spare Plant Area | iFIX Nodes & Ethernet Switches | 10.12.2.13
Spare Plant Area | iFIX Nodes & Ethernet Switches | 10.12.2.14
Spare Plant Area | iFIX Nodes & Ethernet Switches | 10.12.2.15
Spare Plant Area | iFIX Nodes & Ethernet Switches | 10.12.2.16
Spare Plant Area | iFIX Nodes & Ethernet Switches | 10.12.2.17
Spare Plant Area | iFIX Nodes & Ethernet Switches | 10.12.2.18
Spare Plant Area | iFIX Nodes & Ethernet Switches | 10.12.2.19
Spare Plant Area | iFIX Nodes & Ethernet Switches | 10.12.2.20
Blast Furnace | iFIX Nodes & Ethernet Switches | 10.12.128.21 | PPPCBF1 | Primary SCADA
Blast Furnace | iFIX Nodes & Ethernet Switches | 10.12.128.22 | PPPCBF2 | Secondary SCADA
Blast Furnace | iFIX Nodes & Ethernet Switches | 10.12.128.23 | PPPCBF3 | Maintenance Workstation
Blast Furnace | iFIX Nodes & Ethernet Switches | 10.12.128.24 | PPPCBF4 | Operator Workstation #1
Blast Furnace | iFIX Nodes & Ethernet Switches | 10.12.128.25 | PPPCBF5 | Operator Workstation #2
Blast Furnace | iFIX Nodes & Ethernet Switches | 10.12.128.26 | PPPCBF6
Blast Furnace | iFIX Nodes & Ethernet Switches | 10.12.128.40 | BFSW1A/B | Blast Furnace Ethernet Switch
Acid Plant | iFIX Nodes & Ethernet Switches | 10.12.128.41 | PPPCAP1 | Primary SCADA
Acid Plant | iFIX Nodes & Ethernet Switches | 10.12.128.42 | PPPCAP2 | Secondary SCADA
Acid Plant | iFIX Nodes & Ethernet Switches | 10.12.128.43 | PPPCAP3 | Maintenance Workstation
Acid Plant | iFIX Nodes & Ethernet Switches | 10.12.128.60 | APSW1 | Acid Plant Ethernet Switch
Slag Fumer | iFIX Nodes & Ethernet Switches | PPPCSF3 | PPPCSF1 | Primary SCADA/View - Top Control Room
Slag Fumer | iFIX Nodes & Ethernet Switches | PPPCSF2 | PPPCSF2 | Secondary SCADA/View - Tapping Floor Humpy
Slag Fumer | iFIX Nodes & Ethernet Switches | PPPCSF1 | PPPCSF3 | Maintenance Workstation - FWG Switchroom
Slag Fumer | iFIX Nodes & Ethernet Switches | PPPCSF4 | PPPCSF4 | Operator Workstation - Top Control Room
Slag Fumer | iFIX Nodes & Ethernet Switches | PPPCSF9 | PPPCSF9 | Operator Workstation - Tapping Floor Humpy
Slag Fumer | iFIX Nodes & Ethernet Switches | PPPCSF10 | PPPCSF10 | Operator Workstation - Tapping Floor Humpy
Sinter Plant | iFIX Nodes & Ethernet Switches | 10.12.128.161 | PPPCSP1 | Primary SCADA (Process Control LAN)
Sinter Plant | iFIX Nodes & Ethernet Switches | 10.12.128.162 | PPPCSP2 | Secondary SCADA (Process Control LAN)
Sinter Plant | iFIX Nodes & Ethernet Switches | 10.12.128.178 | CSBSW1A/B | CSB Ethernet Switch
Sinter Plant | iFIX Nodes & Ethernet Switches | 10.12.128.180 | SPSW1A/B | Sinter South Ethernet Switch
Refinery | iFIX Nodes & Ethernet Switches | 10.11.9.14 | PPPCRF4 | Softener Retreat View Node
Refinery | iFIX Nodes & Ethernet Switches | 10.11.9.16 | PPPCRF6 | KBA Retreat View Node
Refinery | iFIX Nodes & Ethernet Switches | 10.11.9.111 | PPSPCSLM3 | SLMM3 SCADA/View Node user :administrator pass :deskpro
Refinery | iFIX Nodes & Ethernet Switches | does not exist | PP_SLMM3B | SLMM3 SCADA/View Node Spare
Refinery | iFIX Nodes & Ethernet Switches | 10.11.9.115 | B_MOULD | Butt Wheel SCADA/View Node
Other ProcN Devices | iFIX Nodes & Ethernet Switches | 10.12.128.254 | PPPCRT1 | Process Control To Business Network Router
Blast Furnace | PLCs & Control Equipment | 10.12.129.21 | BFPLC1 | Blast Furnace Process PLC (Primary Rack)
Blast Furnace | PLCs & Control Equipment | 10.12.129.22 | BFPLC2 | Blast Furnace Process PLC (Secondary Rack)
Acid Plant | PLCs & Control Equipment | 10.12.129.41 | APPLC1 | Acid Plant Process PLC (Primary Rack)
Acid Plant | PLCs & Control Equipment | 10.12.129.42 | APPLC2 | Secondary Acid PLC (Secondary Rack)
Sinter Plant | PLCs & Control Equipment | 10.12.129.161 | SPPLC1 | Sinter Process PLC (Primary Rack)
Sinter Plant | PLCs & Control Equipment | 10.12.129.162 | SPPLC2 | Sinter Process PLC (Secondary Rack)
Blast Furnace | PLCs & Control Equipment | 10.12.1.21 | BFPLC1 | Blast Furnace Process PLC (Primary Rack)
Blast Furnace | PLCs & Control Equipment | 10.12.1.22 | BFPLC2 | Blast Furnace Process PLC (Secondary Rack)
Blast Furnace | PLCs & Control Equipment | 10.12.1.23 | SRFPLC | SRF Quantum PLC
Blast Furnace | PLCs & Control Equipment | 10.12.1.24 | BFNCPLC | Blast Furnace North Cranes PLC
Blast Furnace | PLCs & Control Equipment | 10.12.1.25 | BFTPLC | Blast Furnace Top Floor PLC
Blast Furnace | PLCs & Control Equipment | 10.12.1.26 | BFSCPLC | Blast Furnace South Cranes PLC
Blast Furnace | PLCs & Control Equipment | 10.12.1.27
Blast Furnace | PLCs & Control Equipment | 10.12.1.28
Blast Furnace | PLCs & Control Equipment | 10.12.1.29
Blast Furnace | PLCs & Control Equipment | 10.12.1.30
Blast Furnace | PLCs & Control Equipment | 10.12.1.31
Blast Furnace | PLCs & Control Equipment | 10.12.1.32
Blast Furnace | PLCs & Control Equipment | 10.12.1.33 | EGX100 | Modbus/Ethernet Bridge Sepams (BF sub)
Blast Furnace | PLCs & Control Equipment | 10.12.1.34 | BFSthCraneElpro
Blast Furnace | PLCs & Control Equipment | 10.12.1.35 | BFBridgeCrane
Blast Furnace | PLCs & Control Equipment | 10.12.1.36 | BFBridgeSwitch
Blast Furnace | PLCs & Control Equipment | 10.12.1.37 | BFMBE4 | Modbus/Ethernet Bridge #1 (Meccano Set PLC)
Blast Furnace | PLCs & Control Equipment | 10.12.1.38 | BFMBE3 | Modbus/Ethernet Bridge #1 (Coke Scales PLC)
Blast Furnace | PLCs & Control Equipment | 10.12.1.39 | BFMBE2 | Modbus/Ethernet Bridge #2 (Power Meters & VFI)
Blast Furnace | PLCs & Control Equipment | 10.12.1.40 | BFMBE1 | Modbus/Ethernet Bridge #1 (ModMux)
Acid Plant | PLCs & Control Equipment | 10.12.1.41 | APPLC1 | Acid Plant Process PLC (Primary Rack)
Acid Plant | PLCs & Control Equipment | 10.12.1.42 | APPLC2 | Secondary Acid PLC (Secondary Rack)
Acid Plant | PLCs & Control Equipment | 10.12.1.43 | SAPLC | Secondary Acid PLC
Acid Plant | PLCs & Control Equipment | 10.12.1.44
Acid Plant | PLCs & Control Equipment | 10.12.1.45
Acid Plant | PLCs & Control Equipment | 10.12.1.46
Acid Plant | PLCs & Control Equipment | 10.12.1.47
Acid Plant | PLCs & Control Equipment | 10.12.1.48
Acid Plant | PLCs & Control Equipment | 10.12.1.49
Acid Plant | PLCs & Control Equipment | 10.12.1.50
Acid Plant | PLCs & Control Equipment | 10.12.1.51
Acid Plant | PLCs & Control Equipment | 10.12.1.52
Acid Plant | PLCs & Control Equipment | 10.12.1.53
Acid Plant | PLCs & Control Equipment | 10.12.1.54
Acid Plant | PLCs & Control Equipment | 10.12.1.55
Acid Plant | PLCs & Control Equipment | 10.12.1.56
Acid Plant | PLCs & Control Equipment | 10.12.1.57
Acid Plant | PLCs & Control Equipment | 10.12.1.58
Acid Plant | PLCs & Control Equipment | 10.12.1.59
Acid Plant | PLCs & Control Equipment | 10.12.1.60 | PAMBPE1 | MB+/Ethernet Bridge
Acid Plant | PLCs & Control Equipment | 10.11.9.208 | EGX100 | Modbus/Ethernet Bridge Sepams (Acid sub)
PETs Plant | PLCs & Control Equipment | 10.12.1.61 | PET | PETs PLC
PETs Plant | PLCs & Control Equipment | 10.12.1.62
PETs Plant | PLCs & Control Equipment | 10.12.1.63
PETs Plant | PLCs & Control Equipment | 10.12.1.64
PETs Plant | PLCs & Control Equipment | 10.12.1.65
PETs Plant | PLCs & Control Equipment | 10.12.1.66
PETs Plant | PLCs & Control Equipment | 10.12.1.67
PETs Plant | PLCs & Control Equipment | 10.12.1.68
PETs Plant | PLCs & Control Equipment | 10.12.1.69
PETs Plant | PLCs & Control Equipment | 10.12.1.70
PETs Plant | PLCs & Control Equipment | 10.12.1.71 | STP | STP PLC
PETs Plant | PLCs & Control Equipment | 10.12.1.72 |  | PETS Elpro 945U-E
PETs Plant | PLCs & Control Equipment | 10.12.1.73 |  | Sedimentation Basin Mouth Elpro 945U-E
PETs Plant | PLCs & Control Equipment | 10.12.1.74 |  | Wooden Culvert South Elpro 945U-E
PETs Plant | PLCs & Control Equipment | 10.12.1.75 |  | Pit Sump 1 Elpro 945U-E
PETs Plant | PLCs & Control Equipment | 10.12.1.76 |  | Pit Sump 2 Elpro 945U-E
PETs Plant | PLCs & Control Equipment | 10.12.1.77
PETs Plant | PLCs & Control Equipment | 10.12.1.78
PETs Plant | PLCs & Control Equipment | 10.12.1.79 | EGX100 | Modbus/Ethernet Bridge RO PLC
PETs Plant | PLCs & Control Equipment | 10.12.1.80 | EGX100 | Modbus/Ethernet Bridge RO power meter
Zinc Plant | PLCs & Control Equipment | 10.11.9.63 | ZPPLC1 | Zinc Plant Auto Batch PLC (admin/windmill)
Zinc Plant | PLCs & Control Equipment | 10.11.9.64 |  | Zinc Plant Cell Floor ABB PLC #1 Rectifier
Zinc Plant | PLCs & Control Equipment | 10.11.9.136 |  | Zinc Plant Cell Floor PLC (rectifier current control)
Zinc Plant | PLCs & Control Equipment | 10.12.1.84
Zinc Plant | PLCs & Control Equipment | 10.12.1.85
Zinc Plant | PLCs & Control Equipment | 10.12.1.86
Zinc Plant | PLCs & Control Equipment | 10.12.1.87 | ASiPLC | Test ASi PLC
Zinc Plant | PLCs & Control Equipment | 10.11.9.88 |  | pi
Zinc Plant | PLCs & Control Equipment | 10.11.9.89
Zinc Plant | PLCs & Control Equipment | 10.11.9.90
Zinc Plant | PLCs & Control Equipment | 10.12.1.91
Zinc Plant | PLCs & Control Equipment | 10.12.1.92
Zinc Plant | PLCs & Control Equipment | 10.12.1.93
Zinc Plant | PLCs & Control Equipment | 10.12.1.94
Zinc Plant | PLCs & Control Equipment | 10.12.1.95
Zinc Plant | PLCs & Control Equipment | 10.12.1.96
Zinc Plant | PLCs & Control Equipment | 10.12.1.97
Zinc Plant | PLCs & Control Equipment | 10.11.9.108 |  | MSM Modbus/Ethernet Bridge
Zinc Plant | PLCs & Control Equipment | 10.11.9.207 | EGX100 | Modbus/Ethernet Bridge #1 (Sepams)
Zinc Plant | PLCs & Control Equipment | 10.11.9.43 | ZPMBPE1 | MB+/Ethernet Bridge
Power Plant | PLCs & Control Equipment | 10.11.9.176 | SWPLC | Salt Water Pumps PLC
Power Plant | PLCs & Control Equipment | 10.12.1.102 | PPPLC | Power Plant Blowers PLC
Power Plant | PLCs & Control Equipment | 10.12.1.103
Power Plant | PLCs & Control Equipment | 10.12.1.104
Power Plant | PLCs & Control Equipment | 10.12.1.105
Power Plant | PLCs & Control Equipment | 10.12.1.106
Power Plant | PLCs & Control Equipment | 10.12.1.107
Power Plant | PLCs & Control Equipment | 10.12.1.108
Power Plant | PLCs & Control Equipment | 10.12.1.109
Power Plant | PLCs & Control Equipment | 10.12.1.110
Power Plant | PLCs & Control Equipment | 10.12.1.111
Power Plant | PLCs & Control Equipment | 10.12.1.112
Power Plant | PLCs & Control Equipment | 10.12.1.113
Power Plant | PLCs & Control Equipment | 10.12.1.114
Power Plant | PLCs & Control Equipment | 10.12.1.115
Power Plant | PLCs & Control Equipment | 10.12.1.116
Power Plant | PLCs & Control Equipment | 10.12.1.117 | PPSW1 | Power Plant Switch 1
Power Plant | PLCs & Control Equipment | 10.11.9.106 | PPEGX1 | Power Plant EGX gateway for RTU unit
Power Plant | PLCs & Control Equipment | 10.11.9.105 |  | Power Plant Diesel Ethernet/Modbus Bridge
Power Plant | PLCs & Control Equipment | 10.11.9.180 | SWMBE1 | Modbus/Ethernet Bridge #1 (Power Meters & VFI)
Slag Fumer | PLCs & Control Equipment | 10.12.1.121 | SFPLC | Slag Fumer Process PLC
Slag Fumer | PLCs & Control Equipment | 10.12.1.122 | SFPLC2 | Slag Fumer Process PLC (Redundant PLC)
Slag Fumer | PLCs & Control Equipment | 10.12.1.123 | SFFWGPLC | Slag Fumer Fresh Water Granulation PLC
Slag Fumer | PLCs & Control Equipment | 10.12.1.124 | KBPPLC | Kiln Bagging Plant PLC M340
Slag Fumer | PLCs & Control Equipment | 10.12.1.125 | KBPSW1 | Ethernet Cisco Switch(KBPEER)
Slag Fumer | PLCs & Control Equipment | 10.12.1.126 | CCPLC | Charge Crane PLC M340
Slag Fumer | PLCs & Control Equipment | 10.12.1.127
Slag Fumer | PLCs & Control Equipment | 10.12.1.128
Slag Fumer | PLCs & Control Equipment | 10.12.1.129
Slag Fumer | PLCs & Control Equipment | 10.12.1.130 | SFFWGUPS | FWG SCADA Rack UPS
Slag Fumer | PLCs & Control Equipment | 10.12.1.131
Slag Fumer | PLCs & Control Equipment | 10.12.1.132
Slag Fumer | PLCs & Control Equipment | 10.12.1.133
Slag Fumer | PLCs & Control Equipment | 10.12.1.134 | PPPCSF14 | Operator Workstation - Top Control Room (iFix)
Slag Fumer | PLCs & Control Equipment | 10.12.1.135 | PPPCSF15 | Operator Workstation - Tapping Floor Humpy (iFix)
Slag Fumer | PLCs & Control Equipment | 10.12.1.136 |  | Charge Crane Access Point Elpro Radio (Common PLC Room)
Slag Fumer | PLCs & Control Equipment | 10.12.1.137 |  | Charge Crane Elpro Radio (on Crane)
Slag Fumer | PLCs & Control Equipment | 10.12.1.138 | SFMBPE3 | 3.3Rm MB+/Ethernet Gateway (SF2s MBEII)
Slag Fumer | PLCs & Control Equipment | 10.12.1.139 | SFMBPE2 | FWG MB+/Ethernet Gateway (SF1s MBEII)
Slag Fumer | PLCs & Control Equipment | 10.11.9.65 | SFMBPE1 | MB+/Ethernet Bridge
Copper Plant | PLCs & Control Equipment | 10.12.1.141 | CPPPLC | Copper Process PLC
Copper Plant | PLCs & Control Equipment | 10.12.1.142 | COPPERPLC | Copper Ladder PLC
Copper Plant | PLCs & Control Equipment | 10.12.1.143
Copper Plant | PLCs & Control Equipment | 10.12.1.144
Copper Plant | PLCs & Control Equipment | 10.12.1.145
Copper Plant | PLCs & Control Equipment | 10.12.1.146
Copper Plant | PLCs & Control Equipment | 10.12.1.147
Copper Plant | PLCs & Control Equipment | 10.12.1.148
Copper Plant | PLCs & Control Equipment | 10.12.1.149
Copper Plant | PLCs & Control Equipment | 10.12.1.150
Copper Plant | PLCs & Control Equipment | 10.12.1.151
Copper Plant | PLCs & Control Equipment | 10.12.1.152
Copper Plant | PLCs & Control Equipment | 10.12.1.153
Copper Plant | PLCs & Control Equipment | 10.12.1.154
Copper Plant | PLCs & Control Equipment | 10.12.1.155
Copper Plant | PLCs & Control Equipment | 10.12.1.156 | Elpro 945UE | Council RO tank Wireless RS485
Copper Plant | PLCs & Control Equipment | 10.12.1.157 | Elpro 945UE | ETSA Monitoring Wireless RS485
Copper Plant | PLCs & Control Equipment | 10.12.1.158 | Elpro 945UE | ETSA Monitoring Wireless Gateway
Copper Plant | PLCs & Control Equipment | 10.12.1.159 | EGX100 | Modbus/Ethernet Bridge Sepams
Copper Plant | PLCs & Control Equipment | 10.12.1.160
Sinter Plant | PLCs & Control Equipment | 10.12.1.161 | SPPLC1 | Sinter Process PLC (Primary Rack)
Sinter Plant | PLCs & Control Equipment | 10.12.1.162 | SPPLC2 | Sinter Process PLC (Secondary Rack)
Sinter Plant | PLCs & Control Equipment | 10.12.1.163 | CBSPPLC | CSB Process PLC
Sinter Plant | PLCs & Control Equipment | 10.12.1.164 | CDPLC | Cadmium Plant PLC
Sinter Plant | PLCs & Control Equipment | 10.12.1.165 | SPFPPLC | Diemme Filter Press PLC
Sinter Plant | PLCs & Control Equipment | 10.12.1.166 | SPSTPLC | Baghouse Slurry Transfer PLC
Sinter Plant | PLCs & Control Equipment | 10.12.1.167
Sinter Plant | PLCs & Control Equipment | 10.12.1.168
Sinter Plant | PLCs & Control Equipment | 10.12.1.169
Sinter Plant | PLCs & Control Equipment | 10.12.1.170 | SPMBE1 | Modbus/Ethernet Bridge (Sinter South P1154)
Sinter Plant | PLCs & Control Equipment | 10.12.1.171
Sinter Plant | PLCs & Control Equipment | 10.12.1.172
Sinter Plant | PLCs & Control Equipment | 10.12.1.173
Sinter Plant | PLCs & Control Equipment | 10.12.1.174
Sinter Plant | PLCs & Control Equipment | 10.12.1.175
Sinter Plant | PLCs & Control Equipment | 10.12.1.176
Sinter Plant | PLCs & Control Equipment | 10.12.1.177
Sinter Plant | PLCs & Control Equipment | 10.12.1.178
Sinter Plant | PLCs & Control Equipment | 10.12.1.179
Sinter Plant | PLCs & Control Equipment | 10.12.1.180 | SPMBPE1 | MB+/Ethernet Bridge
Refinery | PLCs & Control Equipment | 10.11.9.133 |  | SLMM1 PLC
Refinery | PLCs & Control Equipment | 10.12.1.182 | PMRPLC | PMR PLC
Refinery | PLCs & Control Equipment | 10.12.1.183 | BATCHPLC | Batch PLC
Refinery | PLCs & Control Equipment | 10.12.1.184
Refinery | PLCs & Control Equipment | 10.12.1.185
Refinery | PLCs & Control Equipment | 10.12.1.186
Refinery | PLCs & Control Equipment | 10.12.1.187
Refinery | PLCs & Control Equipment | 10.12.1.188 |  | #1 VIR PLC
Refinery | PLCs & Control Equipment | 10.12.1.189 |  | #2 VIR PLC
Refinery | PLCs & Control Equipment | 10.12.1.190
Refinery | PLCs & Control Equipment | 10.12.1.191
Refinery | PLCs & Control Equipment | 10.12.1.192 |  | Ship Unloader RS232 Terminal Server
Refinery | PLCs & Control Equipment | 10.12.1.193 |  | Elpro Test
Refinery | PLCs & Control Equipment | 10.12.1.194 | PPPCSHIP | Ship Unloader PC
Refinery | PLCs & Control Equipment | 10.12.1.195 | Elpro 945UE | Ship Unloader Wireless Bridge (Unloader)
Refinery | PLCs & Control Equipment | 10.12.1.196 | Elpro 945UE | Ship Unloader Wireless Bridge (PMR)
Refinery | PLCs & Control Equipment | 10.12.1.197 | RFMBPE3 | PRM MB+/Ethernet Gateway (RF2s MBEII)
Refinery | PLCs & Control Equipment | 10.12.1.198 | RFMBPE2 | PMR MB+/Ethernet Gateway (RF1s MBEII)
Refinery | PLCs & Control Equipment | 10.12.1.199 | PMREGX1 | PMR EGX Gateway
Refinery | PLCs & Control Equipment | 10.11.9.15 | RFMBPE1 | MB+/Ethernet Bridge
Kilns/KDR | PLCs & Control Equipment | 10.12.1.201
Kilns/KDR | PLCs & Control Equipment | 10.12.1.202
Kilns/KDR | PLCs & Control Equipment | 10.12.1.203
Kilns/KDR | PLCs & Control Equipment | 10.12.1.204
Kilns/KDR | PLCs & Control Equipment | 10.12.1.205
Kilns/KDR | PLCs & Control Equipment | 10.12.1.206
Kilns/KDR | PLCs & Control Equipment | 10.12.1.207
Kilns/KDR | PLCs & Control Equipment | 10.12.1.208
Kilns/KDR | PLCs & Control Equipment | 10.12.1.209
Kilns/KDR | PLCs & Control Equipment | 10.12.1.210
Kilns/KDR | PLCs & Control Equipment | 10.12.1.211
Kilns/KDR | PLCs & Control Equipment | 10.12.1.212
Kilns/KDR | PLCs & Control Equipment | 10.12.1.213
Kilns/KDR | PLCs & Control Equipment | 10.12.1.214
Kilns/KDR | PLCs & Control Equipment | 10.12.1.215
Kilns/KDR | PLCs & Control Equipment | 10.12.1.216
Kilns/KDR | PLCs & Control Equipment | 10.12.1.217
Kilns/KDR | PLCs & Control Equipment | 10.12.1.218
Kilns/KDR | PLCs & Control Equipment | 10.12.1.219 | KDRMBPE1 | KDRWW MB+/Ethernet Gateway (KILNs MBEI)
Kilns/KDR | PLCs & Control Equipment | 10.11.9.67 |  | KDR Waste Water Ethernet/Modbus Bridge
EAF Dust Washing | PLCs & Control Equipment | 10.12.1.221 | EAFPLC | EAF Process PLC
EAF Dust Washing | PLCs & Control Equipment | 10.12.1.222
EAF Dust Washing | PLCs & Control Equipment | 10.12.1.223
EAF Dust Washing | PLCs & Control Equipment | 10.12.1.224
EAF Dust Washing | PLCs & Control Equipment | 10.12.1.225
EAF Dust Washing | PLCs & Control Equipment | 10.12.1.226
EAF Dust Washing | PLCs & Control Equipment | 10.12.1.227
EAF Dust Washing | PLCs & Control Equipment | 10.12.1.228
EAF Dust Washing | PLCs & Control Equipment | 10.12.1.229
EAF Dust Washing | PLCs & Control Equipment | 10.12.1.230
EAF Dust Washing | PLCs & Control Equipment | 10.12.1.231
EAF Dust Washing | PLCs & Control Equipment | 10.12.1.232
EAF Dust Washing | PLCs & Control Equipment | 10.12.1.233
EAF Dust Washing | PLCs & Control Equipment | 10.12.1.234
EAF Dust Washing | PLCs & Control Equipment | 10.12.1.235
EAF Dust Washing | PLCs & Control Equipment | 10.12.1.236
EAF Dust Washing | PLCs & Control Equipment | 10.12.1.237
EAF Dust Washing | PLCs & Control Equipment | 10.12.1.238
EAF Dust Washing | PLCs & Control Equipment | 10.12.1.239
EAF Dust Washing | PLCs & Control Equipment | 10.12.1.240 |  | EAF Modbus/Ethernet Bridge (EGX100)
Other ProcN Devices | PLCs & Control Equipment | 10.12.1.241 | PPPCHIST1
Other ProcN Devices | PLCs & Control Equipment | 10.12.1.242 | PPPCHIST2
Other ProcN Devices | PLCs & Control Equipment | 10.12.1.243 | PPPCWEB
Other ProcN Devices | PLCs & Control Equipment | 10.12.1.244 |  | Ethernet Cisco Switch (Spare in E&I)
Other ProcN Devices | PLCs & Control Equipment | 10.12.1.245
Other ProcN Devices | PLCs & Control Equipment | 10.12.1.246
Other ProcN Devices | PLCs & Control Equipment | 10.12.1.247
Other ProcN Devices | PLCs & Control Equipment | 10.12.1.248
Other ProcN Devices | PLCs & Control Equipment | 10.12.1.249
Other ProcN Devices | PLCs & Control Equipment | 10.12.1.250
Other ProcN Devices | PLCs & Control Equipment | 10.12.1.251
Other ProcN Devices | PLCs & Control Equipment | 10.12.1.252 |  | PETS Water Analyser
Other ProcN Devices | PLCs & Control Equipment | 10.12.1.253
Other ProcN Devices | PLCs & Control Equipment | 10.12.1.254
Other ProcN Devices | PLCs & Control Equipment | 10.12.1.255
Spare Plant Area | PLCs & Control Equipment | 10.12.3.1
Spare Plant Area | PLCs & Control Equipment | 10.12.3.2
Spare Plant Area | PLCs & Control Equipment | 10.12.3.3
Spare Plant Area | PLCs & Control Equipment | 10.12.3.4
Spare Plant Area | PLCs & Control Equipment | 10.12.3.5
Spare Plant Area | PLCs & Control Equipment | 10.12.3.6
Spare Plant Area | PLCs & Control Equipment | 10.12.3.7
Spare Plant Area | PLCs & Control Equipment | 10.12.3.8
Spare Plant Area | PLCs & Control Equipment | 10.12.3.9
Spare Plant Area | PLCs & Control Equipment | 10.12.3.10
Spare Plant Area | PLCs & Control Equipment | 10.12.3.11
Spare Plant Area | PLCs & Control Equipment | 10.12.3.12
Spare Plant Area | PLCs & Control Equipment | 10.12.3.13
Spare Plant Area | PLCs & Control Equipment | 10.12.3.14
Spare Plant Area | PLCs & Control Equipment | 10.12.3.15
Spare Plant Area | PLCs & Control Equipment | 10.12.3.16
Spare Plant Area | PLCs & Control Equipment | 10.12.3.17
Spare Plant Area | PLCs & Control Equipment | 10.12.3.18
Spare Plant Area | PLCs & Control Equipment | 10.12.3.19
Spare Plant Area | PLCs & Control Equipment | 10.12.3.20
Fume Control | Motor Control Equipment | 10.12.11.1 | FC-F3A | F3A VSD
Fume Control | Motor Control Equipment | 10.12.11.2 | FC-F3B | F3B VSD
Fume Control | Motor Control Equipment | 10.12.11.3
Fume Control | Motor Control Equipment | 10.12.11.4
Fume Control | Motor Control Equipment | 10.12.11.5
Fume Control | Motor Control Equipment | 10.12.11.6
Fume Control | Motor Control Equipment | 10.12.11.7
Fume Control | Motor Control Equipment | 10.12.11.8
Fume Control | Motor Control Equipment | 10.12.11.9
Fume Control | Motor Control Equipment | 10.12.11.10
Fume Control | Motor Control Equipment | 10.12.11.11
Fume Control | Motor Control Equipment | 10.12.11.12
Fume Control | Motor Control Equipment | 10.12.11.13
Fume Control | Motor Control Equipment | 10.12.11.14
Fume Control | Motor Control Equipment | 10.12.11.15
Fume Control | Motor Control Equipment | 10.12.11.16
Fume Control | Motor Control Equipment | 10.12.11.17 |  | F3B EGX100 gateway (Power Meter)
Fume Control | Motor Control Equipment | 10.12.11.18 |  | F3B Sepam
Fume Control | Motor Control Equipment | 10.12.11.19 |  | F3A EGX100 gateway (Power Meter)
Fume Control | Motor Control Equipment | 10.12.11.20 |  | F3A Sepam
Blast Furnace | Motor Control Equipment | 10.12.12.1
Blast Furnace | Motor Control Equipment | 10.12.12.2
Blast Furnace | Motor Control Equipment | 10.12.12.3
Blast Furnace | Motor Control Equipment | 10.12.12.4
Blast Furnace | Motor Control Equipment | 10.12.12.5
Blast Furnace | Motor Control Equipment | 10.12.12.6
Blast Furnace | Motor Control Equipment | 10.12.12.7
Blast Furnace | Motor Control Equipment | 10.12.12.8
Blast Furnace | Motor Control Equipment | 10.12.12.9
Blast Furnace | Motor Control Equipment | 10.12.12.10
Blast Furnace | Motor Control Equipment | 10.12.12.11
Blast Furnace | Motor Control Equipment | 10.12.12.12
Blast Furnace | Motor Control Equipment | 10.12.12.13
Blast Furnace | Motor Control Equipment | 10.12.12.14
Blast Furnace | Motor Control Equipment | 10.12.12.15
Blast Furnace | Motor Control Equipment | 10.12.12.16
Blast Furnace | Motor Control Equipment | 10.12.12.17
Blast Furnace | Motor Control Equipment | 10.12.12.18
Blast Furnace | Motor Control Equipment | 10.12.12.19
Blast Furnace | Motor Control Equipment | 10.12.12.20
Acid Plant | Motor Control Equipment | 10.12.13.1 | AP-M003 | Altivar71 VSD - Sea Water Pump A
Acid Plant | Motor Control Equipment | 10.12.13.2 | AP-M004 | Altivar71 VSD - Sea Water Pump B
Acid Plant | Motor Control Equipment | 10.12.13.3
Acid Plant | Motor Control Equipment | 10.12.13.4
Acid Plant | Motor Control Equipment | 10.12.13.5
Acid Plant | Motor Control Equipment | 10.12.13.6
Acid Plant | Motor Control Equipment | 10.12.13.7
Acid Plant | Motor Control Equipment | 10.12.13.8
Acid Plant | Motor Control Equipment | 10.12.13.9
Acid Plant | Motor Control Equipment | 10.12.13.10
Acid Plant | Motor Control Equipment | 10.12.13.11
Acid Plant | Motor Control Equipment | 10.12.13.12
Acid Plant | Motor Control Equipment | 10.12.13.13
Acid Plant | Motor Control Equipment | 10.12.13.14
Acid Plant | Motor Control Equipment | 10.12.13.15
Acid Plant | Motor Control Equipment | 10.12.13.16
Acid Plant | Motor Control Equipment | 10.12.13.17
Acid Plant | Motor Control Equipment | 10.12.13.18
Acid Plant | Motor Control Equipment | 10.12.13.19
Acid Plant | Motor Control Equipment | 10.12.13.20
Acid Plant | Motor Control Equipment | 10.12.13.20
PETs Plant | Motor Control Equipment | 10.12.14.1 | RV-A1001 | Lime Plant Rotary Valve VSD
PETs Plant | Motor Control Equipment | 10.12.14.2 | BM-A1002 | Lime Plant Ball Mill Soft Starter
PETs Plant | Motor Control Equipment | 10.12.14.3 | PU-A1003 | Lime Plant Mill Discharge Pump VSD
PETs Plant | Motor Control Equipment | 10.12.14.4
PETs Plant | Motor Control Equipment | 10.12.14.5
PETs Plant | Motor Control Equipment | 10.12.14.6
PETs Plant | Motor Control Equipment | 10.12.14.7
PETs Plant | Motor Control Equipment | 10.12.14.8
PETs Plant | Motor Control Equipment | 10.12.14.9
PETs Plant | Motor Control Equipment | 10.12.14.10
PETs Plant | Motor Control Equipment | 10.12.14.11
PETs Plant | Motor Control Equipment | 10.12.14.12
PETs Plant | Motor Control Equipment | 10.12.14.13
PETs Plant | Motor Control Equipment | 10.12.14.14
PETs Plant | Motor Control Equipment | 10.12.14.15
PETs Plant | Motor Control Equipment | 10.12.14.16
PETs Plant | Motor Control Equipment | 10.12.14.17
PETs Plant | Motor Control Equipment | 10.12.14.18
PETs Plant | Motor Control Equipment | 10.12.14.19
PETs Plant | Motor Control Equipment | 10.12.14.20
Zinc Plant | Motor Control Equipment | 10.12.15.1
Zinc Plant | Motor Control Equipment | 10.12.15.2
Zinc Plant | Motor Control Equipment | 10.12.15.3
Zinc Plant | Motor Control Equipment | 10.12.15.4
Zinc Plant | Motor Control Equipment | 10.12.15.5
Zinc Plant | Motor Control Equipment | 10.12.15.6
Zinc Plant | Motor Control Equipment | 10.12.15.7
Zinc Plant | Motor Control Equipment | 10.12.15.8
Zinc Plant | Motor Control Equipment | 10.12.15.9
Zinc Plant | Motor Control Equipment | 10.12.15.10
Zinc Plant | Motor Control Equipment | 10.12.15.11
Zinc Plant | Motor Control Equipment | 10.12.15.12
Zinc Plant | Motor Control Equipment | 10.12.15.13
Zinc Plant | Motor Control Equipment | 10.12.15.14
Zinc Plant | Motor Control Equipment | 10.12.15.15
Zinc Plant | Motor Control Equipment | 10.12.15.16
Zinc Plant | Motor Control Equipment | 10.12.15.17
Zinc Plant | Motor Control Equipment | 10.12.15.18
Zinc Plant | Motor Control Equipment | 10.12.15.19
Zinc Plant | Motor Control Equipment | 10.12.15.20
Power Plant | Motor Control Equipment | 10.12.16.1 | Blower #4
Power Plant | Motor Control Equipment | 10.12.16.2
Power Plant | Motor Control Equipment | 10.12.16.3
Power Plant | Motor Control Equipment | 10.12.16.4
Power Plant | Motor Control Equipment | 10.12.16.5
Power Plant | Motor Control Equipment | 10.12.16.6
Power Plant | Motor Control Equipment | 10.12.16.7
Power Plant | Motor Control Equipment | 10.12.16.8
Power Plant | Motor Control Equipment | 10.12.16.9
Power Plant | Motor Control Equipment | 10.12.16.10
Power Plant | Motor Control Equipment | 10.12.16.11
Power Plant | Motor Control Equipment | 10.12.16.12
Power Plant | Motor Control Equipment | 10.12.16.13
Power Plant | Motor Control Equipment | 10.12.16.14
Power Plant | Motor Control Equipment | 10.12.16.15
Power Plant | Motor Control Equipment | 10.12.16.16
Power Plant | Motor Control Equipment | 10.12.16.17
Power Plant | Motor Control Equipment | 10.12.16.18
Power Plant | Motor Control Equipment | 10.12.16.19
Power Plant | Motor Control Equipment | 10.12.16.20
Slag Fumer | Motor Control Equipment | 10.12.17.1 | SF-M369 | Altivar71 VSD - Rotafeed 1 Feeder 1
Slag Fumer | Motor Control Equipment | 10.12.17.2 | SF-M370 | Altivar71 VSD - Rotafeed 1 Feeder 2
Slag Fumer | Motor Control Equipment | 10.12.17.3 | SF-M371 | Altivar71 VSD - Rotafeed 1 Feeder 3
Slag Fumer | Motor Control Equipment | 10.12.17.4 | SF-M372 | Altivar71 VSD - Rotafeed 1 Feeder 4
Slag Fumer | Motor Control Equipment | 10.12.17.5 | SF-M373 | Altivar71 VSD - Rotafeed 1 Feeder 5
Slag Fumer | Motor Control Equipment | 10.12.17.6 | SF-M374 | Altivar71 VSD - Rotafeed 1 Feeder 6
Slag Fumer | Motor Control Equipment | 10.12.17.7 | SF-M375 | Altivar71 VSD - Rotafeed 2 Feeder 1
Slag Fumer | Motor Control Equipment | 10.12.17.8 | SF-M376 | Altivar71 VSD - Rotafeed 2 Feeder 2
Slag Fumer | Motor Control Equipment | 10.12.17.9 | SF-M377 | Altivar71 VSD - Rotafeed 2 Feeder 3
Slag Fumer | Motor Control Equipment | 10.12.17.10 | SF-M378 | Altivar71 VSD - Rotafeed 2 Feeder 4
Slag Fumer | Motor Control Equipment | 10.12.17.11 | SF-M379 | Altivar71 VSD - Rotafeed 2 Feeder 5
Slag Fumer | Motor Control Equipment | 10.12.17.12 | SF-M380 | Altivar71 VSD - Rotafeed 2 Feeder 6
Slag Fumer | Motor Control Equipment | 10.12.17.13 |  | Stack Fan EER EGX-100 gateway
Slag Fumer | Motor Control Equipment | 10.12.17.14 |  | Stack Fan VSD
Slag Fumer | Motor Control Equipment | 10.12.17.15 |  | FWG Modbus/Ethernet Gateway Sepams/ABB
Slag Fumer | Motor Control Equipment | 10.12.17.16 | SF-DDCSE1 | VSD DDCS/Ethernet Converter
Slag Fumer | Motor Control Equipment | 10.12.17.17 | SF-RS485E1 | VSD RS485/Ethernet Gateway (EGX100)
Slag Fumer | Motor Control Equipment | 10.12.17.18 | SF-RS485E2 | Sepam RS485/Ethernet Gateway (EGX100)
Slag Fumer | Motor Control Equipment | 10.12.17.19 | SF-RS485E3 | HV Sepam RS485/Ethernet Gateway (EGX100)
Slag Fumer | Motor Control Equipment | 10.12.17.20 | SF-RS485E4 | HV Sepam RS485/Ethernet Gateway (EGX100)
Slag Fumer | Motor Control Equipment | 10.12.17.21 |  | FWG Modbus/Ethernet Gateway Power meters
Slag Fumer | Motor Control Equipment | 10.12.17.22 | KBP-M396 | Kilin Bagging Plant VSD-341 Conv
Slag Fumer | Motor Control Equipment | 10.12.17.23 | M071-VSD | Coal Ball Mill VSD
Copper Plant | Motor Control Equipment | 10.12.18.1 | CP-P13 | Altivar 71 - 21A Repulp Reactor Agitator
Copper Plant | Motor Control Equipment | 10.12.18.2
Copper Plant | Motor Control Equipment | 10.12.18.3
Copper Plant | Motor Control Equipment | 10.12.18.4
Copper Plant | Motor Control Equipment | 10.12.18.5
Copper Plant | Motor Control Equipment | 10.12.18.6
Copper Plant | Motor Control Equipment | 10.12.18.7
Copper Plant | Motor Control Equipment | 10.12.18.8
Copper Plant | Motor Control Equipment | 10.12.18.9
Copper Plant | Motor Control Equipment | 10.12.18.10
Copper Plant | Motor Control Equipment | 10.12.18.11
Copper Plant | Motor Control Equipment | 10.12.18.12
Copper Plant | Motor Control Equipment | 10.12.18.13
Copper Plant | Motor Control Equipment | 10.12.18.14
Copper Plant | Motor Control Equipment | 10.12.18.15
Copper Plant | Motor Control Equipment | 10.12.18.16
Copper Plant | Motor Control Equipment | 10.12.18.17
Copper Plant | Motor Control Equipment | 10.12.18.18
Copper Plant | Motor Control Equipment | 10.12.18.19
Copper Plant | Motor Control Equipment | 10.12.18.20
Sinter Plant | Motor Control Equipment | 10.12.19.1 | M2613 | Diemme filter VSD ??????
Sinter Plant | Motor Control Equipment | 10.12.19.2 | M2626 | Diemme filter VSD ??????
Sinter Plant | Motor Control Equipment | 10.12.19.3 | M2633 | Diemme filter VSD ??????
Sinter Plant | Motor Control Equipment | 10.12.19.4 | M2641 | Diemme filter VSD ??????
Sinter Plant | Motor Control Equipment | 10.12.19.5 | M2647 | Diemme filter VSD ??????
Sinter Plant | Motor Control Equipment | 10.12.19.6
Sinter Plant | Motor Control Equipment | 10.12.19.7
Sinter Plant | Motor Control Equipment | 10.12.19.8
Sinter Plant | Motor Control Equipment | 10.12.19.9
Sinter Plant | Motor Control Equipment | 10.12.19.10
Sinter Plant | Motor Control Equipment | 10.12.19.11
Sinter Plant | Motor Control Equipment | 10.12.19.12
Sinter Plant | Motor Control Equipment | 10.12.19.13
Sinter Plant | Motor Control Equipment | 10.12.19.14
Sinter Plant | Motor Control Equipment | 10.12.19.15
Sinter Plant | Motor Control Equipment | 10.12.19.16
Sinter Plant | Motor Control Equipment | 10.12.19.17
Sinter Plant | Motor Control Equipment | 10.12.19.18
Sinter Plant | Motor Control Equipment | 10.12.19.19
Sinter Plant | Motor Control Equipment | 10.12.19.20
Refinery | Motor Control Equipment | 10.12.20.1 |  | VIR #1 Rotary Table VSD
Refinery | Motor Control Equipment | 10.12.20.2 |  | VIR #2 Rotary Table VSD
Refinery | Motor Control Equipment | 10.12.20.3
Refinery | Motor Control Equipment | 10.12.20.4
Refinery | Motor Control Equipment | 10.12.20.5
Refinery | Motor Control Equipment | 10.12.20.6
Refinery | Motor Control Equipment | 10.12.20.7
Refinery | Motor Control Equipment | 10.12.20.8
Refinery | Motor Control Equipment | 10.12.20.9
Refinery | Motor Control Equipment | 10.12.20.10
Refinery | Motor Control Equipment | 10.12.20.11
Refinery | Motor Control Equipment | 10.12.20.12
Refinery | Motor Control Equipment | 10.12.20.13
Refinery | Motor Control Equipment | 10.12.20.14
Refinery | Motor Control Equipment | 10.12.20.15
Refinery | Motor Control Equipment | 10.12.20.16
Refinery | Motor Control Equipment | 10.12.20.17
Refinery | Motor Control Equipment | 10.12.20.18
Refinery | Motor Control Equipment | 10.12.20.19
Refinery | Motor Control Equipment | 10.12.20.20
Kilns/KDR | Motor Control Equipment | 10.12.21.1
Kilns/KDR | Motor Control Equipment | 10.12.21.2
Kilns/KDR | Motor Control Equipment | 10.12.21.3
Kilns/KDR | Motor Control Equipment | 10.12.21.4
Kilns/KDR | Motor Control Equipment | 10.12.21.5
Kilns/KDR | Motor Control Equipment | 10.12.21.6
Kilns/KDR | Motor Control Equipment | 10.12.21.7
Kilns/KDR | Motor Control Equipment | 10.12.21.8
Kilns/KDR | Motor Control Equipment | 10.12.21.9
Kilns/KDR | Motor Control Equipment | 10.12.21.10
Kilns/KDR | Motor Control Equipment | 10.12.21.11
Kilns/KDR | Motor Control Equipment | 10.12.21.12
Kilns/KDR | Motor Control Equipment | 10.12.21.13
Kilns/KDR | Motor Control Equipment | 10.12.21.14
Kilns/KDR | Motor Control Equipment | 10.12.21.15
Kilns/KDR | Motor Control Equipment | 10.12.21.16
Kilns/KDR | Motor Control Equipment | 10.12.21.17
Kilns/KDR | Motor Control Equipment | 10.12.21.18
Kilns/KDR | Motor Control Equipment | 10.12.21.19
Kilns/KDR | Motor Control Equipment | 10.12.21.20
EAF Dust Washing | Motor Control Equipment | 10.12.22.1 | EAF-MB003 | Altivar71 VSD - EAF-MB003
EAF Dust Washing | Motor Control Equipment | 10.12.22.2 | EAF-MB105 | Altivar71 VSD - EAF-MB105
EAF Dust Washing | Motor Control Equipment | 10.12.22.3 | EAF-MB106 | Altivar71 VSD - EAF-MB106
EAF Dust Washing | Motor Control Equipment | 10.12.22.4 | EAF-MB107 | Altivar71 VSD - EAF-MB107
EAF Dust Washing | Motor Control Equipment | 10.12.22.5 | EAF-MB108A | Altivar71 VSD - EAF-MB108A
EAF Dust Washing | Motor Control Equipment | 10.12.22.6 | EAF-MB108B | Altivar71 VSD - EAF-MB108B
EAF Dust Washing | Motor Control Equipment | 10.12.22.7 | EAF-MB110 | Altivar71 VSD - EAF-MB110
EAF Dust Washing | Motor Control Equipment | 10.12.22.8 | EAF-MB205 | Altivar71 VSD - EAF-MB205
EAF Dust Washing | Motor Control Equipment | 10.12.22.9 | EAF-MB206 | Altivar71 VSD - EAF-MB206
EAF Dust Washing | Motor Control Equipment | 10.12.22.10 | EAF-MB207 | Altivar71 VSD - EAF-MB207
EAF Dust Washing | Motor Control Equipment | 10.12.22.11 | EAF-MB208A | Altivar71 VSD - EAF-MB208A
EAF Dust Washing | Motor Control Equipment | 10.12.22.12 | EAF-MB208B | Altivar71 VSD - EAF-MB208B
EAF Dust Washing | Motor Control Equipment | 10.12.22.13 | EAF-MB210 | Altivar71 VSD - EAF-MB210
EAF Dust Washing | Motor Control Equipment | 10.12.22.14
EAF Dust Washing | Motor Control Equipment | 10.12.22.15
EAF Dust Washing | Motor Control Equipment | 10.12.22.16
EAF Dust Washing | Motor Control Equipment | 10.12.22.17
EAF Dust Washing | Motor Control Equipment | 10.12.22.18
EAF Dust Washing | Motor Control Equipment | 10.12.22.19
EAF Dust Washing | Motor Control Equipment | 10.12.22.20
Refinery | RIO Network | 10.13.1.182 | PMRCRP1
Refinery | RIO Network | 10.13.1.183 | PMRCRA1
EAF Dust Washing | RIO Network | 10.13.1.221 | EAFCRP1 | Ethernet RIO Head
EAF Dust Washing | RIO Network | 10.13.1.222 | EAFCRA1 | Ethernet RIO Slave
Note on C453: Smart, Adrian: Reserved for ladder PLC